Wall-mounted temperature transmitters with Output 4-20mA    (THM100-02A-YC）

The wall-mounted temperature transmitters with Output 4-20mA adopts the scientific and reasonable circuit design as well as the most advanced digital temperature sensor technology. It can turn the digital signal into the analog signal correspondingly through the central processing unit operation and analog-to-digital conversion.

Its major features are wide measuring range, small drift, long life, high precision, high cost-effective and full range of analog output as well as good linearity and stability

Applications :

Pharmaceutical and Chemical industries, communications,environmental monitors,   libraries, archives, workshops, building, supermarket and Industrial Automation etc.

Technical data :

Operating voltage :    24VDC

Operating environment: Humidity ≦95%RH, Temperature -20~+80℃

Installation:         wall mounted

Input signal:        DS18B20 digital sensor

Measuring range:    -55℃～+125℃

Output signal:       4-20mA

Load Capacity:      ≦500ᴒ

Power Consumption:  ≦2W

product terminal pins identifications

Yellow-wire

Brown-wire

Pink-wire

Note:

VCC--Power Supply +

GND--Power Supply-/mA-

TH--Temperature mA+

Dimensions(外形尺寸）

Order Details:

壁挂式温度变送器： wall-mounted temperature transmitter

温度范围        Temperature range

输出方式        Output

传感器连接方式  Sensor Connection

测量精度        Accuracy

一体式          Integrated

分体式          Separated

温度            Temperature

输出接线方式    Output circuit

三线制          3-wire