Thermocouple for petroleum analytical instrument（TM2103)

Applications：

Petroleum analytical instruments

Technical data

Connecting cable:  Shielded compensating cable

Protection tube:    Stainless steel 304

Sensor element:    Thermocouple

Response time:     1ms

接线图 wiring diagram

红 red 白 white

Dimensions（外形尺寸图）

Order Details:

| TM2103 | — | (1) | — | (2) | — | 000 | — | (4) | — | 00 | — | (6) | / | (7) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

- Protection tube diameter D

20     2.0mm

- Insertion length  EL

150      150mm

200      200mm

300      300mm

Note：other lengths as per customers’ requitements

- （4）Sensor element

OE        Type E Thermocouple

OK        Type K Thermocouple

OJ         Type J Thermocouple

OL        Type L Thermocouple

OS        Type S Thermocouple

OT        Type T Thermocouple

OR        Type R Thermocouple

- （6）Cable length  L（L≥100mm）

100     100mm

200     200mm

2000    2000mm

(100≤L<1000 ,L1=50, L≥1000, L1=100)

Note：other lengths as per customers’ requitements

- （7）Additional options

00      No

01      strain relief spring/strain relief spring hose

03      Waterproof function

07      Ferrules as per DIN 46 228 part4 (Standard)

99      Special Options

List the additional options in sequence, separated by commas.