Form B/ Form BUZ screw-in thermocouple （TM2502)

Applications：

Experimental facilities ,Industrial furnaces, Heating boilers,Heating devices, electric power and chemical industries.

Technical data:

Protection tube:    Stainless steel 304/316,abrasion resistance

Sensor element:   Thermocouple

Protection class :   IP65

Integrated temperature transmission(option) : 24VDC

Transmitter accuracy :±0.2%FS

接线图-wiring diagram

焊接-welding

红色标记- red mark   安装螺钉-mounting screws

Dimensions（外形尺寸图）

Order Details:

| TM2502 | — | (1) | — | (2) | — | (3) | — | (4) | — | (5) | — | (6) | / | (7) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

- Protection tube diameter D

- 2       2mm

- 3       3mm

4       4mm

6       6mm

Note：other specifications as per customers’ requitements

- Insertion length  EL

- 160     160mm

200     200mm

1000    1000mm

2000    2000mm

Note：other lengths as per customers’ requitements

- Process connection G

000        No

133        M27 ×2

213        G1/2

Details in “Thread code table”

- Sensor element

OE       Type E Thermocouple

- OK       Type K Thermocouple

- OJ        Type J Thermocouple

- OL        Type L Thermocouple

- OS        Type S Thermocouple

- OT        Type T Thermocouple

- OR        Type R Thermocouple

- ON        Type N Thermocouple

- Measuring range

- 21   -50 ～ +600℃

- 23    0 ～ +800℃

- 24    0 ～ +1000℃

- Cable length  L（L≥100mm）

- 100     100mm

200     200mm

2000    2000mm

(100≤L<1000 ,L1=50, L≥1000, L1=100)

Note：other lengths as per customers’ requitements

- Additional options

- 00      No

01      strain relief spring/strain relief spring hose

03      Waterproof function

07      Ferrules as per DIN 46 228 part4 (Standard)

08      Multipole connector(providing type)

99      Special Options

List the additional options in sequence, separated by commas.